|  |  | Risk Assessment No |
| --- | --- | --- |
| DEPARTMENT OF ENGINEERING Part 1. Personal data and details of project/experiment/work activity | RISK ASSESSMENT FORM - This is an active document and must be maintained. Health, Safety and Environment Office Risk Assessment Form 2007 |
| Surname: | Supervisor: |
| Forename(s): | Location/Laboratory where activity will take place: |
| Tel Ext and e-mail address: |  |
| Status: (Staff/Student/Academic/Technician/Clerical/Portering) |
| Starting date: |
| Proposed finishing date: |
| Title of project/experiment/work activity: Use of tensile testing equipment - sample risk assessment to be adapted by the person using this equipment. |
| Brief description of project/experiment/work activity Use of tensile testing machines (screw and hydraulically driven) for research/teaching. [This section should be modified and extended to describe the specifics of the project, related to the person who's risk assessment this is.] For unsupervised use training must be given by a knowledgeable technician and the attached checklist must be completed and attached to the risk assessment. Supervisor confirmation is needed that training has been received: Supervisor signature: |
| DEFINITIONS Hazard: The potential for harm. Risk: The probability (or likelihood) of harm actually occurring and the severity of its consequences. Risk Assessment: The process of deciding on actions to be taken to reduce risk to an acceptable level by implementing control measures |

## PART 2.      Nature of Possible Hazards

PART 3.      Control Measures

| Where you have answered ‘yes’ in Part 2 please provide a written 'Safe System of Work' or the control measures to be put into place for these activities. - High forces generated - use of stops/guards/safe working methods needed. Risk rating: 1 x 2 - Test planning required to assess how and at what loads the test may fail. - Containment of fracture particles. Use safety glasses and guards (default unless specimen being tested has no projectile risk). Risk rating: 1 x 2 - Keep hands out of working area. Risk rating: 1 x 2 - Heavy weights - safe lifting and attachment. Risk rating: 1 x 2 - Training before use – see page one for supervisor signature. - Not to be used alone or outside working hours without written permission. - Normal precautions for electrical power supplies: Risk rating 1 x 2 [To complete this section, please consider carefully all the possible risks, and ways in which the equipment (preferably) or the methodology can be adapted to eliminate all but trivial ones. The final risk assessment will include these modifications. If items arise that you feel you need additional advice on, please highlight these on a draft risk assessment for discussion with your supervisor (for research projects), the Local Officer Responsible for Safety (myself, Michael Sutcliffe, in the Materials Lab), and the Departmental safety officer Joseph Gordon.] How to analysis risk |
| --- |
| Hazards identified: | List all potential hazards, e.g. those that may arise from substances, electricity, equipment or machines and the ways in which people use or misuse those items etc. |
| Identify persons at risk: | The risk may be different for the person performing the experiment from someone who knows nothing about it (eg cleaners, technicians, maintenance staff, visitors). |
| Control measures: Likelihood: | These are things you will be putting in place to reduce risks to their lowest level This should be assessed on a scale of 1 - 3 as follows: |
|  | 1 = Unlikely | If control measures do not break down. |
|  | 2 = Likely | If the control measures depend on an individual using them or adjusting them. |
|  | 3 = Certain/imminent | Exposure to the hazard is continuous |
| Severity: | Assessed on a scale of 1 - 3 as follows: |
| Calculation of risk: | 1 = Minor injury / lost time/illness 2 = Serious injury / disablement 3 = Death / fire / explosion Likelihood x Severity = Risk rating |
| Risk rating: | Please specify the risk rating by completing the above calculation and indicating below: 1 to 3 = Low Risk 4 to 6 = Moderate Risk 7 to 9 = High Risk |

| PART 4. General Safety Information |
| --- |
| Personal Protection | Lab Coat Gloves Face Mask Ear Defenders Eye Protection Foot Protection (delete where appropriate) | Coveralls Yes/No Yes/No Yes/No Yes/No Yes/No | Coveralls + Hood Type Type Type |
| Special Monitoring (Hearing test, Eye test, Dust exposure etc). | Is special monitoring required? Yes/No Details: |
| Waste Disposal Substances hazardous to health Information from MSDS as to disposal requirements | Is Hazardous waste likely? Yes/No Waste Disposal Procedures: |
| First Aid (Special antidote requirements for using HF, cyanide, etc). | First aid procedures in event of accident Contact first aider |
| Action required in the event of Equipment Failure (Any special notification needed). | None |
| Out of Hours Emergency Shut Down Procedure (Any special procedural document must be kept near to experimental rig). | Use emergency stop. Turn off power |
| Sources of information (manuals, etc) |  |
| Signature of Assessor ………………………………………..……. date …………………….. Signature of Supervisor ……………………………………………… date …………………….. Signature of Local Officer ……………………………………………… date …………………….. Responsible for Safety Signature of Health Safety and Environmental Co-ordinator ……………………………………… date ……………………… SIGNATURES ARE TO INDICATE WHO CARRIED OUT, AND/OR WHO APPROVED THE ASSESSMENT ON BEHALF OF THE DEPARTMENT. SIGNING THIS FORM CANNOT TRANSFER RESPONSIBILITY FROM THE UNIVERSITY TO SIGNATORY. HOWEVER REASONABLE CARE MUST BE USED BY ALL INVOLVED IN COMPLETING THIS ASSESSMENT. |

Instron® General Safety Precautions Check List

Cambridge University Internal Use

Materials testing is potentially hazardous.

This checklist has been constructed for the 8800 Servohydraulic Frame testing system, but should also be used for other systems, servohydraulic or screw driven.

Materials testing involves inherent hazards from high forces, rapid motions and stored energy. You must be aware of all moving and operating components that are potentially hazardous, for your particular testing need, especially the actuator piston rod.

Whenever you consider that safety is compromised, press the Emergency Stop
button to stop the test and isolate the testing system from hydraulic power.

Your best safety precautions are to obtain training in the testing equipment that you
are using and to read your Instron® Operating Instructions and Reference Manual(s)

to gain a thorough understanding of the equipment.

The following Check List details various general Safety points that you must understand and heed at all times while using your Instron® materials testing equipment. You will find more specific Warnings and Cautions in your Instron® Reference and Operational Manuals supplied with your testing equipment.

The term Warning is used where a hazard may lead to injury or death.

The term Caution is used where a hazard may lead to damage to equipment or to loss of data.

The Check List is not exhaustive; Safety Is Your Responsibility.

You must conduct your own product testing safety Risk Assessment, which this checklist should be attached to, see http://www-mech.eng.cam.ac.uk/riskassess/

Ensure that your test set-up and the actual test you will be performing on materials, assemblies or structures, constitutes no hazard to yourself or others. Make full use of all mechanical and electronic limits features. These are supplied to enable you to prevent movement of the test system beyond desired regions of operation. Limits provide protection for your specimen, machine, and reduce potential hazard. Use a dummy specimen before testing a new material component.

Complete the checklist below in conjunction with the 8800 manual (stored by the large machine in the mechanics lab) and any other relevant manual (e.g. for screw driven machines), and a knowledgeable technician to show you the key areas. You must read the manual before starting using the machine. Some items with asterisks and blue font refer only to a hydraulic drive and can be ignored for a screw-driven system.

| Researcher | Signature | Date |
| --- | --- | --- |

Chapters refer to the 8800 user manual.

Asterisks and blue font indicate components not relevant for a screw-driven machine.

Use "n/a" where checkpoints do not apply.

0)   Read 8800 User Manual									(

All of the manual is important, but you must be very clear on the Introduction, 
Chapter 2 (particularly calibration) and Chapter 5 (particularly the limits), which 
are key to safe use of the Instron machines.

- Introduction to the test system: Identification of Major Components (Manual, Introduction)
	Load Frame 										(
	Actuator										(
	8800 (or equivalent) Controller							
	Computer										
	FastTrack Console Software (user interface)						
	Appropriate Major Accessories (e.g. laser extensometer, water bath)		
	Grips											
	*Hydraulic Power Supply								  *
	*Manifold										(  *	*Servo Valve										(  *
	*Filters										(  *
	*Accumulators									(  *
	*Hydraulic Crosshead Lift & Clamps							  *
	*Hydraulic Handsets 									  *

- SAFETY AWARENESS – ALWAYS THINK SAFETY
	Moving System Parts									
		Actuator Piston/Screw							
		Hydraulic Grip Jaws								
		Crosshead, Hydraulic Lift and Clamps					
	*Stored Energy
		*Hydraulic Hoses (secure all pressurised hoses to prevent movement
		during system operation)							  *
		*Manifolds									  *
		*Accumulators								  *
		*Pressurised Grips								  *
		*Specimen									  *
	*High Pressure System Connections
		*Hydraulic Hose & Fittings Connections (Connection & Routing)		  *
	Specimen Failure
		Use appropriate guards, safety glasses, and personal protective equipment.	
	House Keeping
		Ensure working area is maintained in a clean and orderly fashion		
	Risk Assessment
		You must conduct your own internal Risk Assessment for your testing		

	Instron® Warnings and Cautions (VERY IMPORTANT)
		Review the preliminary pages of the equipment reference manual		
		Review safety and information labelling in reference manual		
			ANSI / ISO labels							

- INSTRON® SYSTEM PROTECTION FEATURES

Emergency Stop Button
	Colour, Shape, Location								
	Usage / Action										
Limits 
	MMI / Software 									
	Load		 									
	Position	 									
	Strain											
	Docile / Low Pressure Mode								
Specimen Protect										

- SAFE USAGE OF THE FOLLOWING:
Frame
	Know the Force rating 								
	Ensure load-string components are correctly preloaded to minimise			
	the risk of fatigue failure.								
	Take extreme care when installing or removing specimens in the testing area.	
	Ensure appropriate limits are set when performing Loop Tuning.			
	Ensure appropriate limits are set when conducting a test (all channels)		
	*Hydraulic Handset Control Operation						  *
	*Crosshead lift and clamp procedure (including Yellow Support Collar)		  *

Actuator
	Understand Force rating (+/-)								
	Understand Piston Stroke (+/-)							

Load Cell
	Understand Force rating (+/-)								
	Calibration										
	Understand correct mounting to load frame (wedge washer or bolts)		
	Understand importance of Alignment							

Grip (hydraulic/manual)
	Understand Force rating (+/-, dynamic, static)					
	Understand correct mounting (use of appropriate adaptors)				
	Jaw faces (regularly check condition)							
	Specimen insertion (importance of gripping area, alignment, use of insertion
	tooling, and protect against any loose clothing, hair, jewellery etc.)			

Extensometer
	Understand Gauge length and extension ratings					
	Calibration										
	Mounting and removal from specimen						

- Shut down hydraulic power and discharge hydraulic pressure before disconnecting	  *
any hydraulic fluid couplings.
				ALWAYS THINK SAFETY

# Text boxes

Check

when complete

Check

when complete

Chemicals/Substances –

Are chemicals/substances hazardous to health to be used?                           Yes/No

If YES you must complete a COSHH form available from the H.S.E. office

and attach it to this assessment.

Please list chemicals/gases/substances to be used.

Biological Substances – Are biological substances to be used?                   Yes/No

If YES assessments must be submitted to the Departmental Biological Officer

for signature

Signature of Departmental Biological Officer:

Date:

Radiation – Are radiation sources to be used?                                                Yes/No

If YES assessments must be submitted to the Departmental Radiation Officer

Dr G Parks for signature (gtp@eng.cam.ac.uk)

Signature of Departmental Radiation Officer:

Date:

Laser – Are lasers to be used?                                                                        Yes/No

If YES assessments must be submitted to the Departmental Laser Officer
Class 3B and 4 lasers need a separate assessment to Dr T Wilkinson for signature (tdw@eng.cam.ac.uk)

Lower power lasers - assessment to be sent to tdw for info.

Has eye-test been undertaken?  YES/NO

Signature of Departmental Laser Officer:

Date:

Electrical – Is electrical equipment to be used?                                               Yes

Robotic – Is robotic equipment to be used?                                                      Yes/No

Mechanical – Are you using mechanical, pneumatic,

pressure vessels, hydraulics, motor drives, lifting gear etc?                               Yes

Other hazards – Are there any other hazards which pose                                 Yes/No

unusual risks, such as long periods at a computer,

working at height, manual handling etc?

Please state nature of the hazard: